## Slide 1: Mass Spectrometry Analysis

## Slide 2: Workflow
Generate b/y ions from spectrum.
Ions = {‘b1’: 102…}
Parse mzXML file:
‘scan’ > ‘num’ > ‘peaks’
User-inputted peptide.
User-inputted scan number.
User-inputted mzXML file.
Extract mz & int vectors from peaks (“magic code”).
Match (mz, int) against spectrum (b_, y_, or non_):
b_mzs = [102.2, …],
b_ints = [140, …],
b_labels = [‘b2’, …]
Stem plots:
(b_mzs, b_ints)
(y_mzs, y_ints)
(non_mzs, non-ints)
Add labels:
Ax.text(mz, int, label)

## Slide 3: Element Tree Iterparse
ele.tag == ns+“scan”
ele.attrib.get(“num”)  No namespace needed for attrib.
peakselt = ele.find(ns+ “peaks”)
peakselt.text

## Slide 4: matplotlib.pyplot output
Plotted 3 ax.stem graphs.
Blue peaks match b-ions.
Red peaks match y-ions.
Grey peaks don’t match.
Tags for b/y ions (b above y).
Cutoffs:
  Abs(mz – ion) < 0.3
  Intensity > 5% of max intensity
Title includes length to facilitate search of mirrored b/y pairs.

## Slide 5: Other modules used
b64decode: Turned the 64bit encoded peakselt.text into binary.
array: Sent the decoded binary output from 64bit into a float array.

## Slide 6: Testing the program
Printing intermediate outputs (ions dictionary, etc…).
PeptideAtlas to test output specta. https://peptideatlas.org/
https://db.systemsbiology.net/sbeams/cgi/PeptideAtlas/ShowObservedSpectrum?atlas_build_id=572&spectrum_identification_id=30229674&peptide=[Dimethyl:2H(6)13C(2)]-TYDSYLGDDYVR&assumed_charge=2&chimera_level=1&sample_id=4923&spectrum_name=4Skin_Mix1_SCX_F13rep4_OR4.15869.15869.2

## Slide 7: Scientific tradeoffs
Cutoff selection is critical.
  Proper mz cutoff depends on:
    Technology (different mass measurement accuracies) (Lieu et al.; 2007).
    Preference in balancing false discovery rate with true positive discovery (Lieu et al.; 2007).
  Intensity cutoff:
    Filters out noise- signal to noise ratio increases with intensity (Du et al.; 2008).
    Reduce amount of data in large scan outputs (focus on just the prominent peaks).
    Abundant peaks are more important in determining the peptide match.

## Slide 8: Other notable details
Using non-rounded molecular weight values mattered.
  MW = {'A': 71.04, 'C': 103.01, 'D': 115.03, 'E': 129.04, 'F': 147.07, 'G': 57.02, 'H': 137.06, 'I': 113.08, 'K': 128.09, 'L': 113.08, 'M': 131.04, 'N': 114.04, 'P': 97.05, 'Q': 128.06, 'R': 156.10, 'S': 87.03, 'T': 101.05, 'V': 99.07, 'W': 186.08, 'Y': 163.06 }
Break line to prevent multiple ions matching a single mz (not used).
Plotting graphs is computationally expensive.

## Slide 9: Learnings
Familiarity with element tree and iterparse.
Practice with matplotlib.
Introduction to b64decode.
Understanding of mass spectrometry.

## Slide 10: References
Du P, Stolovitzky G, Horvatovich P, Bischoff R, Lim J, Suits F. A noise model for mass spectrometry based proteomics. Bioinformatics. 2008 Apr 15;24(8):1070-7. doi: 10.1093/bioinformatics/btn078. Epub 2008 Mar 18. PMID: 18353791.
Liu T, Belov ME, Jaitly N, Qian WJ, Smith RD. Accurate mass measurements in proteomics. Chem Rev. 2007 Aug;107(8):3621-53. doi: 10.1021/cr068288j. Epub 2007 Jul 25. PMID: 17649984; PMCID: PMC2713049.